## Sheet1
lab | details | LC_instrument | column | mobile_phase_A | mobile_phase_B | H2O | ACN | formic_acid | duration_min | inj_vol_uL_pos | inj_vol_uL_neg | MS_instrument | source | mass_range | DDA_DIA | fragmentation | number_of_injections | total_scan_rate_MS1_MS2 | total_scan_rate_MS1_seg_pos | total_scan_rate_MS1_seg_neg | total_scan_rate_MS2_seg | inclusion_list | MTBLS_ID | MTBLS_assay_name | MTBLS_public_status | MTBLS_access_link
afekta | harmonized | Agilent 1290 Infinity II UHPLC system | Phenomenex Kinetex C18 (100 mm x 2.1 mm, 1.7 µm) | H2O + 0.1% formic acid | ACN + 0.1% formic acid | MilliQ | HiPerSolv CHROMANORM from VWR Chemicals | HiPerSolv CHROMANORM from VWR Chemicals | 15 | 1 | 1 | Agilent 6546 QTOF | ESI | 20-1600 | DDA | CID (CE 10, 20, and 40 eV) | 2 | NA | 1.67 | 1.67 | 3 | No | MTBLS14343 |  | TRUE | https://www.ebi.ac.uk/metabolights/MTBLS14343
cembio | harmonized | Agilent 1290 Infinity II UHPLC system | Phenomenex Kinetex C18 (100 mm x 2.1 mm, 1.7 µm) | H2O + 0.1% formic acid | ACN + 0.1% formic acid | MilliQ | Carlo Ebra | Honeywell | 15 | 1 | 2.5 | Agilent 6545 QTOF | ESI | 50-1100 | DDA | CID (CE 10, 20, and 40 eV) | 2 | NA | 1.5 | 2 | 3 | Yes (inclusion list only considering the compounds that were detected on ms1) | REQ20251003213571 |  | FALSE
icl | harmonized | Acquity UHPLC system | Phenomenex Kinetex C18 (100 mm x 2.1 mm, 1.7 µm) | H2O + 0.1% formic acid | ACN + 0.1% formic acid | Fisher Chemical | Fisher Chemical | Fisher Chemical | 15 | 10 | 10 | Waters Synapt G2S QTOF | ESI | 50-1200 | DDA | CID (CE ramp low mass 25-40 eV, CE ramp high mass 30-60 eV) | 2 | NA | 0.1 | 0.1 | 0.1 | Yes (inclusion list with theorical mz from [M+H]+, [M+Na]+, [M-H]-, [M+HCO2]- +/- 100 mDa window) | MTBLS15694 |  | FALSE | https://www.ebi.ac.uk/metabolights/MTBLS15694
hmgu | harmonized | Sciex ExionLC AD | Phenomenex Kinetex C18 (100 mm x 2.1 mm, 1.7 µm) | H2O + 0.1% formic acid | ACN + 0.1% formic acid | Supelco (LiChrosolv) | Supelco (LiChrosolv) | Fisher Chemical | 15 | 5 | 5 | Sciex Zeno TOF 7600 | ESI | 50-1500 | DDA | CID (CE 35 eV, CE 15 eV) | 1 | 0.501 | NA | NA | NA | Yes | MTBLS14274 |  | FALSE | https://www.ebi.ac.uk/metabolights/MTBLS14274
auth | harmonized | Bruker Elute UHPLC system | Phenomenex Kinetex C18 (100 mm x 2.1 mm, 1.7 µm) | H2O + 0.1% formic acid | ACN + 0.1% formic acid |  |  |  | 15 |  |  | Bruker TIMS-TOF Pro 2 | ESI | 20-1300 | DDA | CID (CE 50 eV) | 1 | 0.6 |  |  |  | No |  |  | FALSE